Module 1. Pre-test ISO 15190,upto clause 10. Please indicate True or False to each question or statement below according to the standard ISO 15190.The references are shown here for suggested reading, not for citing the reference clause.

…..Q1.ISO 15190 is a medical laboratory requirement for safety.(cover page)

…..Q2.There are requirements to ensure that there is a named person ultimately

responsible and that all employees take responsibility for safety at their own work and the safety of others who may be affected by it.(introduction)

…..Q3.Where hazards can not be eliminated,the risk is reduced to the minimal

level,using the following order of priority;

containment>substitution>personal protective measures and

equipment.(introduction)

……Q4.Safety is the primary consideration;cost is of the first

importance.(introduction)

…..Q5.Medical laboratories handling with pathogens requiring containment levels

3 and 4 will need additional requirements to ensure safety.(introduction)

…..Q6.This ISO shell not be used as a guidance on accreditation.(introduction)

…..Q7. ISO 15189:2007,Medical laboratories-Particular requirements for quality

and competence is the normative reference of ISO 15190.(2)

…..Q8. Aerosols are particles dispersed in a gas,smoke,fog or solid surface.(3.1)

…..Q9. Antisepsis is the method for avoiding infection in a wound by the usage of

antibiotics.(3.2)

…..Q10.Cleaning is the process to remove visible type of contamination.(3.5)

…..Q11. Decontamination is the procedure that eliminates or reduces microbial

contamination to a safe level,this is not include toxic agent contamination.(3.7)

…..Q12.Microiological safety cabinet (MSC) offers protection,not only to the

user,but also to the environment.(3.14)

…..Q13.Clean room,SCP class 1 ,is safe enough for working with human

pathogens.(3.14)

…..Q14. Viruses and prions are not defined as microorganisms.(3.15)

…..Q15. Sterilization is a validated process to render a product free from

microorganisms and hazardous chemicals.(3.24)

…..Q16. Biological agents are classified into 5 risk groups.(4)

…..Q17. Risk group 2 includes pathogens that cause diseases, moderate individual

risk and low community risk eg. Stap. Aureus,Listeria monocytogenes  (4,b)

…..Q18. Risk group 3 includes pathogens that cause serious diseases, high

individual risk and low community risk eg. Sal. typhi,prions  (4,b)

…..Q19.Avian Flu,HIV/AIDS,TB are the pathogens in the risk group 5  and are

required special safety measures to ensure safety.(4)

…..Q20. Risk group 4 includes pathogens that cause serious diseases,often

untreatable, high individual risk and high community risk eg. Small pox  (4,d)

…..Q21.The ultimate responsibility concerning safety shall rest with the laboratory

management.(5.1)

…..Q22.All personnel shall be immunized to prevent infections associated with

individual risks. Records shall be kept and updated.(5.2)

…..Q23.For workers,cleaners and clerks who do not touch the specimen

directly,training for safety may be option.(5.2)

…..Q24. Containment of all pathogens,physical and chemical hazards shall be

matched to the assessed risks.(6.2)

…..Q25. Corridors and passages to the exits may be used for some office

works.(6.2)

…..Q26. Phlebotomy facilities may be located in area for sample

reception,admistrative and analytical ,as far as the area is a clear separation

from another ones.(6.2)

…..Q27.Hand washing sinks should  have stoppers in the basin for soaking

purpose.(6.2)

…..Q28.Air-circulating system should be effectively separated between each

areas.(6.2)

…..Q29.Ambient temperature and humiditiy in the laboratories should be

controlled as far as possible to a level compatible with laboratory personnel

comfort.(6.3.2,6.3.3)

…..Q30.Laboratory ventilation ducts should be shared with those of the general

workplace in order to easily controlled.(6.2.3)

…..Q31. Virating and ultrasonic equipment shall be positioned to reduced the risks

of ergonomic distress disorders and accidents.(6.3.5)

…..Q32. All laboratory entrances and exit points shall be identified.Signs at each

sites shall include the internationally accepted hazard indicators and other

relevant statutory signs.(6.3.7)

…..Q33. The entrances shall have lockable doors,but the door locks shall not

prevent exit in an emergency.(6.3.8)

…..Q34. Appropriate measures towards theft and tapering with samples,reagents

and confidential information are required.(6.3.8)

…..Q35. Laboratory Safety Officer(LSO) shall be designated.LSO shall

develop,maintain,and monitor an effective laboratory safety manual.(7.1)

…..Q36.LSO shall be authorized to stop unsafe activities.LSO shall be at least an

associate member,if not its chairholder in Safety Committee.(7.1)

…..Q37. All SOPs shall include detailed instructions concerning any hazards

involved and how to carry out the procedure with minimal risk.(7.2)

…..Q38.A written plan, including  protocols for hazards communication,shall be

developed.(7.2)

…..Q39. The safety plan shall include at least 12 measures and SOPs.(7.2)

…..Q40. Safety programme shall be audited annually with 10 elements to be

audited.(7.2)

…..Q41. LSO is responsible for ensuring that safety inspections are

undertaken.Workplaces shall be surveyed/inspected at least annually.(7.3.2)

…..Q42.In safety survey,the safety committees are encouraged to

participate.Regular safety surveys remind all personnel of potential

hazards,ensure compliance and reinforce supervisory responsibility.(7.3.2)

…..Q43. A safety manual shall be kept in secure and limit access.LSO is the one

who can revise it.(7.4)

…..Q44.Safety manual shall include fire prevention,electrical safety,chemical

safety,radiation,microbiological hazards and hazardous waste disposal.(7.4 a-

e)

…..Q45. Safety orientation and annual updates of safety prepareness for each

employee shall be recorded in personal training records.(7.5.2)

…..Q46.Occupational illness,injury,accident or adverse incident shall be

documented and confidentiality of individuals are concerned.(7.5.2)

…..Q47.Maintenance person who is not part of laboratory staff,contractor and

subcontractor,shall be made aware of any hazards they may encounter.(8)

…..Q48.Employees shall be trained,familiar with,and have specific written

instructions on emergency procedures.(8)

…..Q49.Incident reports,including remedial actions,shall be reviewed by all staffs

of the laboratory.(9)

…..Q50. At a minimum,a safety training programme shall address fire prevention

and prepareness,chemical and radiation safety,and biological hazards and

infection prevention.(10)

Module 2. Pre-test ISO 15190, clause 11-23

Please indicate True or False to each question or statement below according to the standard ISO 15190.The references are shown here for suggested reading, not for citing the reference clause.

…..Q1.Food and drink shall be stored only in specifically designated

refrigeraters located in laboratory work areas.(11.1)

…..Q2.Long hair  shall be secured back.Long beard or hair may use some

covers.(11.2)

…..Q3.Application of cosmetics and handling of contact lenses  shall be

prohibited in technical work areas.(11.2)

…..Q4.Jewelery,rings,watches,bracelets and necklaces shall not be worn in all

areas in the laboratory.(11.2)

…..Q5.All personnel working with human specimens should be offered Hepatitis

C vaccine.(11.3)

…..Q6.Personal belongings shall not be placed in technical work areas.Secure

storage such as lockers should be provided.(11.4)

…..Q7.Festive and other decorations may be furnished in technical work

areas,given to the comfort of personnel.(11.5)

…..Q8. Protective clothing shall be changed,daily,to ensure cleanliness.(12.1)

…..Q9. Protective clothing shall be worn at all time,inside or outside

laboratory.(12.1)

…..Q10.Phlebotomists and ones work with patients shall not wear coat or

gown.(12.2)

…..Q11. Laboratory worker shall be trained in glove selection,fitting and

removal before and after appropriate use.(12.4)

….Q12. Gloves should be task-specific and be inspected for leakage before

wearing.Gloves should be worn to completely cover the hands,wrists and

where appropriate,overlap the gown sleeves.(12.4)

…..Q13. Flat ergonomically comfortable shoes with open-toe are good for

routine work in the laboratory.(12.5)

…..Q14.Where respiratory protection devices are required,arrangements should

be made for  training,monitoring,evaluation for the users’ supervision to

ensure proper use.(12.6)

…..Q15. Hands shall be washed immediately after actual or possible contact with

blood,except when gloves have been worn.(12.7)

…..Q16. Hands should be routinely washed after removing gloves and before

and after contact with each patient.(12.7)

…..Q17. Waterless hand-cleaning products are an acceptable alternative to

traditional handwashing.(12.7)

…..Q18.Personnel shall be trained on first aid.All staff should be familiar with

procedures to be taken following needlestick injuries.(12.8)

…..Q19. Minimum safety facilities include a first aid box,first aid equipment,eye

irrigation equipment,antidotes to poisons used,protective clothing and safety

equipment for the people rendering first-aid and provision  for summoning

medical assistance and prompt transfer.(12.9)

…..Q20.Emergency showers shall be available in all areas.(12.11)

…..Q21. Laboratory shall designate technical areas as either clean or

contaminated.A person shall be designated to overseeing good

housekeeping practices.(13)

…..Q22. Changes in laboratory practices,working habits or materials that may

result in potential hazards to housekeeping And/or maintenance staff shall

be communicated with LSO.(13)

…..Q23.Specific SOPs shall be documented for decontamination,cleaning and

disinfection of each piece of equipment in case of spills or accidents that

result in contamination and also prior to equipment being serviced or

repaired.(13)

…..Q24. QM and SOPs  shall indicate utilizing Good Microbiology Practices for

handling,examination and disposal of clinical specimens.(14.1)

…..Q25. Quality control materials are infection-free,handling them as non-

infectious materials are acceptable.(14.1)

…..Q26. If the samples are leaking upon receipt,they shall be opened by trained

persons and be opened on leak- proof towels.(14.1)

…..Q27.Sharps shall be disposed in puncture resistant container and sharp

containers should not be filled to more than ½ of their volumes.(14.2)

…..Q28. Sharps shall not be sheared,bent,broken,recapped or resheathed by hand

or manually removed from syringes.(14.2)

…..Q29.Gowns used in microbiology should be closed at the front and neck,and

have long sleeves with cuffs.(14.2)

…..Q30.Bunsen burner is preferable devices for loop sterilization than the

electronic incineration.(14.2)

…..Q31.All samples being vortex-agitated should be contained in containers

with lids.Safety capped enclosures are used for centrifugation of samples.

…..Q32. Where laboratories work with cultured microorganism of risk group

3,recycling air from HEPA filters of BSC is permitted.(16)

…..Q33. All reagents and apparatus should be placed in BSC for conveniently

use and storage.(16)

…..Q34. QM and SOPs  shall indicate utilizing Good chemical laboratory

Practices for handling,examination and disposal of chemicals.(17.1)

…..Q35. Hazardous liquids shall be stored on above eye level for easily

observation.(17.1)

…..Q36.LSO shall justify utilizing of radionuclide in the laboratory.(17.2)

…..Q37. Before working on radionuclide,laboratories  shall seek advice from

authorized Radiation Protection Advisor(RPA) on radiation protective

practices and legislative requirements.(17.3)

…..Q38.Raidiation Protection Officer(RPO) shall be designated and has

particular responsibilities on design and control use of radionuclide and

report to RPA.(18.2)

…..Q39.RPA and RPO can monitor and  dictate  changes on the

use,practices ,remedial measures on radionuclide use.(18.3)

…..Q40.Microwave equipment in laboratories can boil or melt frozen

reagents,agarose gel suspension and alchol.(18.5)

…..Q41. Medical laboratories within inpatient facilities should be separated

from medical areas by fire resistant construction.(19.1)

…..Q42. Secondary exits shall be provided to ensure safe evacuation personnel

from the laboratories and the exits should open into a fire-protected

area.(19.2)

…..Q43. Minimum quantities of flammable gases and liquid are the amounts

needed for one week use.(19.4)

…..Q44. Fire safety training and instruction shall be given exclusively to

laboratory personnel.This shall include recognition and evaluation of fire

hazards,planning to reduce the risk of fire and all actions to take when fires

occur.(19.6)

…..Q45. It is recommended that laboratory personnel rather try extinguish fires

than evacuation.(19.7)

…..Q46.An action plan for emergency evacuation shall be developed.All staff

and visitors shall be made aware of the action plan,route of exits,and

assembly points for emergency evacuation.A fire drill shall be performed at

least once a year.(20)

…..Q47. If conducting liquid is accidentally spilt on equipment,the latter shall be

disconnected from the electrical supply and carefully dried before operating

the equipment.(21)

…..Q48. All samples shall be transported in such manners as to prevent

contamination of workers,patients,or the environment.They shall be

transported in approved,inherently safe,leakproof containers.(22)

…..Q49.LSO shall ensure that harzardous waste is handled by appropriately

trained personnel using appropriate personal protective equipment.(23)

…..Q50.Rubbish and waste shall not be allowed to accumulate in work

areas.Wastes should be held in designated secure place outside the work

areas.(23)

Congratulation ! you have finished training module 2 which comprises ISO 15190 requirements clause 11-23.You should study more on the Annex A Action-plan outline for implementation of ISO 15190  before going forward to the training module 3